## Slide 1: Treatment technologies and Common Bio-medical Waste Treatment Facility

## Slide 2: Introduction
A common bio-medical waste treatment facility (CBWTF) is a set up where biomedical waste, generated from a number of healthcare units, is treated centrally.
A CBWTF should have all the required technologies to collect, treat and dispose Bio- medical waste.

## Slide 3: Draft Guidelines for CBWTF
The guidelines are laid by Central Pollution control board. Salient features:
Every CBWTF must have treatment equipments like incinerator, autoclave or microwave, shredder and effluent treatment plant as a part of treatment, prior to commencement of its operation.
It should collect, transport, treat and dispose segregated Bio medical waste of all Healthcare Facilities within 75 km range.
Operator of a CBWTF should maintain a record of recyclable wastes
The record shall be open for inspection by the prescribed authorities
It shall allow visit by any occupier
Bar code and global positioning system should be used by CBWTF
All the CBWTF vehicles should be labeled as given in part ‘A’ of the Schedule IV of the Bio-medical waste management Rules

## Slide 4: Technologies used in a CBWTF
Autoclave
It is a low heat thermal process and it uses steam for disinfection of waste.
It uses different temperature, pressure and time combinations for a treatment cycle.

## Slide 5: Types of Autoclave
Air is an effective insulator, thus complete disinfection demands removal of air from the chamber. Two methods of removing air are:
Gravity displacement
Pre-vacuum

## Slide 6: Stages in autoclave operation
Pre-heating
Loading of waste with an indicator
Air evacuation
Steam treatment
Steam discharge
Unloading
Mechanical treatment

## Slide 7: Standards for waste autoclaving
Dedicated autoclave for waste treatment
Time, temperature and pressure to the maintained
Graphic/computer recording devices
Validation test: Spore testing (bacillus stearothermophilus with atleast 1x104 spores/ml)
Routine test: chemical indicator strip/tape which is colour sensitive.
Operating parameters
Gravity flow: 121oC, 15psi, 60`; 135oC, 31psi,45`; 149oC, 52psi, 30`
Pre-vacuum: 121oC, 15psi, 45`; 135oC, 31psi, 30`

## Slide 8: Types of waste allowed/ disallowed
Waste Allowed
Yellow Category waste: Under this, soiled waste: items contaminated with blood and body fluids, including cotton dressings, soiled plaster casts, linen, beddings, etc.
Red Category – Contaminated Waste (Recyclables) - waste generated from disposable items other than the waste sharps, such as tubings, catheters, intravenous sets, syringes (without needles or fixed needles syringes), vaccutainers with their needles cut etc.
White Category (Translucent) - Waste sharps including metals: needles, syringes, scalpels, blades, glass etc. that may cause puncture and cuts. This includes both used and unused sharps.
Blue Category – Glassware – Broken or discarded & contaminated glass including medicine vials and ampoules except those contaminated with cytotoxic wastes.
Not to be treated:
Volatile and semi-volatile organic compounds
Chemotherapeutic wastes, mercury and other hazardous chemical waste
Radiological waste, Sealed heat resistant containers
Human/ Animal Anatomical Waste
Microbiological/Biotechnological Waste
Huge and bulky bedding material

## Slide 9: Points to remember
Segregated waste is a must
Air evacuation is necessary
Place bags in multi-load trays
Proper ventilation to avoid odors
Thermocouples and pressure gauges should be checked frequently

## Slide 10: Microwaves: action mechanism
Disinfection by moist heat and steam generated by microwave energy
Magnetrons convert high voltage electrical energy into microwave energy
The microwaves create an electromagnetic field
Water and other molecules in waste try to align in the field and in the process they vibrate
Vibration of the molecules produces heat

## Slide 11: Microwaves: action mechanism
Microwave kills by two mechanisms:
By heat energy from the steam generated
Changing the biological molecular structure of proteins
Microwaves are high frequency (2450+50mhz) radio waves capable of creating electromagnetic field
Temperatures reached are around 97-100oC. In some new systems, steam under pressure is passed, to achieve temperatures>135oC.
Cycle time is around 25`
Typically, around 2-6 magnetrons are used with an output of about 1.2KW each

## Slide 12: Stages in microwave operations
Waste loading
Steam injection in the hopper
Internal shredding
Microwave treatment
Disinfection cycle
Optional secondary shredding
Discharge
Category of waste that can be and cannot be treated is similar to the autoclave. Emission parameters are also similar

## Slide 13: Advantages and disadvantages
Advantages
In use for more than a decade
Minimal emissions if no hazardous waste fed
Automated system
No liquid effluent
Disadvantages
Relatively high capital cost
Toxic emissions if hazardous waste fed
Any large metal item can damage shredders
Odour problems
Probability of microwave energy leakage

## Slide 14: Standards for microwaves
Not to be used for cytotoxic, hazardous or radioactive wastes, contaminated animal carcasses, body parts and large metal items
Should comply with efficacy and routine tests and should consistently kill bacteria and other pathogenic organisms
Biological indicator: bacillus subtilis spores (using strips/vials of 1x104spores/ml)

## Slide 15: Hydroclave
Hydroclave is steam treatment with fragmentation and drying of waste
It has a double walled chamber with an agitator inside
Steam is injected into this wall (jacket) and waste is loaded in the inner chamber
The agitator fragments and turns waste

## Slide 16: Hydroclave: treatment mechanism
The moisture in the waste turns to steam and exerts pressure on the inner walls. If this pressure is not sufficient, additional steam may be injected inside.
Cycle runs at 132oC for 15`/ 121oC for 30`
Finally the steam is vented through a condenser while maintaining heat input, causing the waste to dry
Steam is shut off, discharge door is opened and agitator runs in reverse rotation to place the waste on a conveyor belt/ container

## Slide 17: Advantages and disadvantages
Advantages
    Shredded, dry waste
    Internal mixing improves transfer of heat
Disadvantages
    Clogging of agitator blades with waste
    Mixed shredded waste makes recycling difficult

## Slide 18: Plasma Pyrolysis & Gasification: Action Mechanism
This process converts organic matter into synthetic gas, electricity, and slag using plasma.
A plasma torch powered by an electric arc, is used to ionize gas and catalyze organic matter into synthetic gas and solid waste (slag)
A strong electric current under high voltage passes between the two electrodes as an electric arc.
Pressurized inert gas is ionized passing through the plasma created by the arc. The torch's temperature ranges from 4,000 to 25,000 °F (2,200 to 13,900 °C).
The waste is heated, melted and finally vaporised.

## Slide 19: Dry Heat Sterilization: Action Mechanism
This system uses heated air at high speed.
After the waste is loaded, it is shredded and then transferred to a treatment chamber.
Hot air is directed in a way that causes the waste particles to rotate turbulently around a vertical axis in a torroidal mixing action.
This causes high rates of heat exchange and within four to six minutes, dry unrecognisable waste is ejected.
The type of waste to be treated and emission problems with this system are similar to those of autoclaves.
This technology requires a temperature of 185°C for a residence time of 150 minutes, with a sterilization period of 90 minutes.

## Slide 20: Incineration
Incineration is a burn technology and high temperatures are used to kill the pathogens and, in the process, destroy the materials on which they reside.
During incineration and post combustion cooling, waste components dissociate and recombine, forming hundreds and thousands of new molecules, which are referred to as products of incomplete combustion (PIC).
Theoretically, an incinerator would change all hydrocarbons to carbon- dioxide and water, but this does not happen in practice

## Slide 21: Incineration Standards
S.No. | Parameter | Standards Conc. (mg/Nm3)
1 | Particulate matter | 50
2 | Nitrogen Oxides NO and NO2 expressed as NO2 | 400
3 | HCl | 50
4 | Total Dioxins and Furans | 0.1ngTEQ/Nm3 (at 11% O2)
5 | Hg and its compounds | 0.05
Temperature
  Primary Chamber-800+/-50oC
  Secondary Chamber- 1000+/-50oC
Secondary chamber gas residence time atleast 2 seconds, with minimum 3% oxygen in the stack gas
Minimum Stack height shall be 30 meters above ground
Volatile organics in ash not more than 0.01%
Suitable pollution control equipment to achieve emission levels

## Slide 22: Dioxins: where do they come from?
Are an unintentional by product of waste incineration, as well as certain chemical and manufacturing processes;
Are toxic at very low levels of exposure
Are persistent in the environment
Bio-accumulate
Have a half-life of approximately 7 years in humans, 100 years in sub-surface soil and over 50 years in water bodies and sediments

## Slide 23: Medical waste incineration and dioxins
Medical waste incinerators are a major source of dioxins in the global environment
Burning of chlorine-containing material such as chlorinated plastics result in dioxins
Dioxins are formed after combustion, during the cooling of the exhaust gases
Polyvinyl chloride (PVC) is a major source of chlorine in medical waste

## Slide 24: Human health effects of dioxin
Cancer
  increased cancer mortality
Neo-natal abnormalities
  change in Sex Ratio
  altered level of thyroid hormone
Skin disorders
  porphyria cutanea tarda
  chloracne

## Slide 25: Human health effects of dioxin
Immune system
Changes/suppression in immune system
Endocrine (hormone) system effects
Low levels of testosterone
Increase in glucose tolerance
Decreased estrogen and estrogen-receptor levels after foetal exposure

## Slide 26: Ash
Incinerator ash is hazardous waste
Needs to be disposed in secured landfills
Problems are:
Contamination with heavy metals (lead, cadmium and mercury)
Loaded with dioxins and furans
Pollution control equipment increase toxicity of ash